# GlacialLight Arcturus 30W Low Bay Light Achieves 107 Lumens per Watt - GL-BL30

## Durable IP65 LED Bay Lights use Chip On Board technology to deliver up to 3200 lumens

Taipei, Taiwan – September 11, 2014 – GlacialLight, the lighting division of GlacialTech Inc., introduces the newest model in its Arcturus Bay Light series. The GL-BL30 is a durable LED low bay light that uses 30W of electricity to produce up to 3200 lumens. With a highly efficient CoB LED, the GL-BL30 sips energy while illuminating indoor spaces at 107 Lumens per Watt.

### Aesthetic

Low Bay Lights are powerful workhorse luminaires, but their lower, more visible positioning means they need to fit well in their environment. The GL-BL30 comes in 3 matte colors - white, black and red to fit in a variety of settings. Their hourglass shape is aesthetic but unobtrusive. A translucent blue ring surrounds the GL-BL30, giving a cool ambient glow when the light is on, while the main lighting projects downwards from the rounded skirt. The GL-BL30 Bay Light can be attractively attached to the ceiling by an included cable or pendant rod accessory.

### Customizable Light

The GL-BL30 comes in different configurations to meet diverse customer lighting needs. The frosted cover model diffuses light smoothly and with the lampshade produces a 90 degree beam angle, or an ultra-wide 110 degree without lampshade for lower installations. The glass lens cover model features more direct light producing a tighter 70 degree beam angle and is suitable for higher installations. As with all Arcturus Bay Lights, color temperatures of 3000K (Warm White), 4000K (Neutral White), and 5000K (Cool White) are available and dimming is an option.

### Robust

The GL-BL30 is a robust low bay light rated to IP65. It works well in living rooms, malls, and retail environments, but will stand up to the abuse of a restaurant kitchen or garage. With 100-277VAC compatibility, the GL-BL30 will work with mains voltage worldwide.

### Features

- Housing color options: white, black and red

- High system efficacy up to 107 lm/W

- Attachment options: cable or metal pendant rod

- IP65 certified lighting fixture

- Optional dimming available

- Frosted cover softens light and comes with lampshade or without for lower installations

- Glass lens cover available for direct lighting, suitable for higher installations

### Specifications

GL-BL30 (non-dimmable) Glass Lens with lampshade

| Type | GL-BL30-WW | GL-BL30-NW | GL-BL30-CW |
| --- | --- | --- | --- |
| Energy Used | 30W |  |  |
| Rated Life | 30,000 Hours |  |  |
| Input Voltage | 100-277V AC |  |  |
| Power Factor (PF) | 0.98 @120V AC, 0.94@240V AC |  |  |
| CCT (color) | 3000K | 4000K | 5000K |
| Luminous Flux | 3050 lm | 3150 lm | 3200 lm |
| System Efficacy | 102 lm/W | 105 lm/W | 107 lm/W |
| CRI (Minimum) | 80 | 80 | 80 |
| Beam Angle | 70° with lampshade |  |  |
| Dimension | Ф 305 x 300mm |  |  |
| IP Rating | IP65 |  |  |
| Operation Temperature | -20°C ~ +40°C |  |  |
| Bundled Driver | GP-HS35P-48C |  |  |
| Net Weight | 2.2kg (with driver & lampshade) |  |  |
| Package | 4 Boxes / Carton |  |  |

GL-BL30DA (DC dimmable: 1-10V/PWM/Resistor) Glass Lens with lampshade

| Type | GL-BL30DA-WW | GL-BL30DA-NW | GL-BL30DA-CW |
| --- | --- | --- | --- |
| Energy Used | 30W |  |  |
| Rated Life | 30,000 Hours |  |  |
| Input Voltage | 100-277V AC |  |  |
| Power Factor (PF) | 0.98 @120V AC, 0.94@240V AC without dimmer |  |  |
| CCT (color) | 3000K | 4000K | 5000K |
| Luminous Flux | 3050 lm | 3150 lm | 3200 lm |
| System Efficacy | 102 lm/W | 105 lm/W | 107 lm/W |
| CRI (Minimum) | 80 | 80 | 80 |
| Beam Angle | 70° with lampshade |  |  |
| Dimension | Ф 305 x 300mm |  |  |
| IP Rating | IP65 |  |  |
| Operation Temperature | -20°C ~ +40°C |  |  |
| Bundled Driver | GP-HS35P-48CA |  |  |
| Net Weight | 2.2kg (with driver & lampshade) |  |  |
| Package | 4 Boxes / Carton |  |  |

GL-BL30 (non-dimmable) Frosted Cover with lampshade

| Type | GL-BL30-WW | GL-BL30-NW | GL-BL30-CW |
| --- | --- | --- | --- |
| Energy Used | 30W |  |  |
| Rated Life | 30,000 Hours |  |  |
| Input Voltage | 100-277V AC |  |  |
| Power Factor (PF) | 0.98 at 120V AC, 0.94 at 240V AC |  |  |
| CCT (color) | 3000K | 4000K | 5000K |
| Luminous Flux | 2400 lm | 2450 lm | 2550 lm |
| System Efficacy | 80 lm/W | 82 lm/W | 85 lm/W |
| CRI (Minimum) | 80 | 80 | 80 |
| Beam Angle | 90° with lampshade |  |  |
| Dimension | Ф 305 x 300mm |  |  |
| IP Rating | IP65 |  |  |
| Operation Temperature | -20°C ~ +40°C |  |  |
| Bundled Driver | GP-HS35P-48C |  |  |
| Net Weight | 2.1kg (with driver & lampshade) |  |  |
| Package | 4 Boxes / Carton |  |  |

GL-BL30DA (DC dimmable: 1-10V/PWM/Resistor) Frosted Cover with lampshade

| Type | GL-BL30DA-WW | GL-BL30DA-NW | GL-BL30DA-CW |
| --- | --- | --- | --- |
| Energy Used | 30W |  |  |
| Rated Life | 30,000 Hours |  |  |
| Input Voltage | 100-277V AC |  |  |
| Power Factor (PF) | 0.98 @120V AC, 0.94@240V AC without dimmer |  |  |
| CCT (color) | 3000K | 4000K | 5000K |
| Luminous Flux | 2400 lm | 2450 lm | 2550 lm |
| System Efficacy | 80 lm/W | 82 lm/W | 85 lm/W |
| CRI (Minimum) | 80 | 80 | 80 |
| Beam Angle | 90° with lampshade |  |  |
| Dimension | Ф 305 x 300mm |  |  |
| IP Rating | IP65 |  |  |
| Operation Temperature | -20°C ~ +40°C |  |  |
| Bundled Driver | GP-HS35P-48CA |  |  |
| Net Weight | 2.1kg (with driver & lampshade) |  |  |
| Package | 4 Boxes / Carton |  |  |

GL-BL30 (non-dimmable) Frosted Cover without lampshade

| Type | GL-BL30-WW | GL-BL30-NW | GL-BL30-CW |
| --- | --- | --- | --- |
| Energy Used | 30W |  |  |
| Rated Life | 30,000 Hours |  |  |
| Input Voltage | 100-277V AC |  |  |
| Power Factor (PF) | 0.98 @120V AC, 0.94@240V AC |  |  |
| CCT (color) | 3000K | 4000K | 5000K |
| Luminous Flux | 2750 lm | 2800 lm | 2900 lm |
| System Efficacy | 92 lm/W | 93 lm/W | 97 lm/W |
| CRI (Minimum) | 80 | 80 | 80 |
| Beam Angle | 110° without lampshade |  |  |
| Dimension | Ф 200 x 170mm |  |  |
| IP Rating | IP65 |  |  |
| Operation Temperature | -20°C ~ +40°C |  |  |
| Bundled Driver | GP-HS35P-48C |  |  |
| Net Weight | 1.5kg (with driver & lampshade) |  |  |
| Package | 4 Boxes / Carton |  |  |

GL-BL30DA (DC dimmable: 1-10V/PWM/Resistor) Frosted Cover without lampshade

| Type | GL-BL30DA-WW | GL-BL30DA-NW | GL-BL30DA-CW |
| --- | --- | --- | --- |
| Energy Used | 30W |  |  |
| Rated Life | 30,000 Hours |  |  |
| Input Voltage | 100-277V AC |  |  |
| Power Factor (PF) | 0.98 @120V AC, 0.94@240V AC without dimmer |  |  |
| CCT (color) | 3000K | 4000K | 5000K |
| Luminous Flux | 2750 lm | 2800 lm | 2900 lm |
| System Efficacy | 92 lm/W | 93 lm/W | 97 lm/W |
| CRI (Minimum) | 80 | 80 | 80 |
| Beam Angle | 110° without lampshade |  |  |
| Dimension | Ф 200 x 170mm |  |  |
| IP Rating | IP65 |  |  |
| Operation Temperature | -20°C ~ +40°C |  |  |
| Bundled Driver | GP-HS35P-48CA |  |  |
| Net Weight | 1.5kg (with driver & lampshade) |  |  |
| Package | 4 Boxes / Carton |  |  |

### Read more about this new product please visit at GlacialLight's website:

http://www.glaciallight.com/products/baylight.htm

### About GlacialLight

GlacialLight, the lighting division of GlacialTech, manufactures LED lighting solutions for indoor/outdoor applications and both residential and commercial uses. As well as having a wide range of finished LED lighting products, GlacialLight also offers its clients the option of customizing products for specific needs. Please visit the company homepage at www.GlacialLight.com